## Slide 1: Digital Image Correlation for 3D-SEM
Department of Applied Physics/ E.T. Faber, J.T. Ouwerling, D. Martinez-Martinez, C. Mansilla-Sanchez, V. Ocelik, J.Th.M. De Hosson
Development of a scientific analysis method

## Slide 2: What is 3D-SEM?
Stereoscopic 3D
No information besides images

## Slide 3: What is 3D-SEM?
Algorithm: 3 2D images  1 3D image
Algorithm also calculates orientation and tilting of sample
(nm)

## Slide 4: Applications
Diatom frustule
(biology; water quality)
Silver particles on gold
Steel deformation test
Thanks for sample:
Eric Detsi, Ewout Lubbermans
Thanks for sample:
Helena Novais

## Slide 5: Development as a scientific research tool
Ease of use
Added value of results
Reliability of results
Scope: check your assumptions when you explore a different research field
Characterization: quantify the accuracy and precision of the result (z)

## Slide 6: What is Digital Image Correlation (DIC)?
Analysis algorithm which compares (optical) images
Determines 2D (location) and 3D changes

## Slide 7: Essentials
Displacement field
Parameter defined to find optimum with
Usually: cross-correlation coefficient
Degrees of freedom, boundary conditions, presence of discontinuities can result in complex algorithm

## Slide 8: Joost and Enrico
Essential image correlation algorithm
Build in tools for error quantification
Test with SEM images of surfaces
Well documented so it can be adjusted/improved later
Check assumptions (what are the assumptions in DIC?), characterize results
Continued development

## Slide 9: Thank you for your attention